## Sheet1
Synthetic noise cases
Se | Se^.5 | actual noise | Std(z-ztrue) | sigma | comments
100 | 10 | 2 | 0.6 | 0.05 | RD looks terrible, takes a long time to converge
16 | 4 | 2 | 0.1 | 0.06 | Slower convergence, RD very scattered
4 | 2 | 2 | 0.06 | 0.07 | roughness distribution is distinctly non-linear
1 | 1 | 2 | 0.03 | 0.04 | RD looks a little more gaussian
0.25 | 0.5 | 2 | 0.01 | 0.03 | About the same as when Se=1, converges quickly
0.01 | 0.1 | 2 | 0.003 | 0.0005 | Nicely Gaussian (but now sigma is tiny)
Smooth crystal in 2018-07-05 /Case1.0 (calibration)/
0.01 | 0.1 | 4 |  | 0.17
1 | 1 | 4 |  | 0.17
16 | 4 | 4 |  | 0.17 | So, the result (that "smooth" crystals are really rather rough) doesn't depend on Se. I think that means it's real.